## Table S43
Supplementary Table S43: Pathological review step 1 - which partitions can be evaluated?
| Do you think this partition cannot be evaluated because of an artefact (e.g. blurred images, damaged tissue)? | AGGREGATATED : Do you think this partition cannot be evaluated because of an artefact (e.g. blurred images, damaged tissue)? | Do you think this partition contains very similar tiles? | AGGREGATATED : Do you think this partition contains very similar tiles? | Do you think you can evaluate this partition globally rather than tile by tile? | AGGREGATATED : Do you think you can evaluate this partition globally rather than tile by tile? | Do you think you would need more than 50 tiles to evaluate this partition? | AGGREGATATED : Do you think you would need more than 50 tiles to evaluate this partition? | Do you have any other comments on the evaluability of this partition?
Partition 4 | No | No | Yes | Yes | Yes | Yes | No | No | NA
| No |  | Yes |  | No |  | No |  | it can be evaluated in 2 groups of similar tiles. No colour artefact, but some are lighter then the others (however I wouldnt call it colour artefact :))
| No |  | No |  | No |  | No |  | NA
| No |  | Yes |  | Yes |  | No |  | NA
| No |  | Yes |  | Yes |  | No |  | Acceptable images
Partition 5 | No | No | Yes | Yes | Yes | No | No | No | NA
| No |  | Yes |  | No |  | No |  | some images blured, most OK
| No |  | No |  | No |  | No |  | one blurred image
| No |  | No |  | No |  | No |  | 1c-1d dark, 1e blurred
| No |  | Yes |  | Yes |  | No |  | Acceptable images
Partition 9 | Yes | Yes | No | No | No | No | No | No | NA
| Yes |  | No |  | No |  | Yes |  | NA
| Yes |  | No |  | No |  | Yes |  | several blurred tiles and several tiles without tumor cells
| Yes |  | No |  | No |  | No |  | most out of focus
| Yes |  | No |  | No |  | No
Partition 10 | No | Yes | Yes | Yes | Yes | Yes | No | No | NA
| Yes |  | Yes |  | Yes |  | No |  | Here no tumor cells, other than that can be evaluated :)
| Yes |  | Yes |  | Yes |  | Yes |  | very few tiles contain tumor cells
| No |  | Yes |  | Yes |  | No |  | 2b-c-e blurred, rest ok
| Yes |  | Yes |  | Yes |  | No |  | Unrelated stroma images
Partition 13 | No | No | Yes | Yes | Yes | Yes | Yes | No | NA
| No |  | No |  | No |  | No |  | Actually tiles could be grouped and evaluated in 2 groups, plus some outliers
| No |  | No |  | No |  | No |  | NA
| No |  | Yes |  | Yes |  | NA |  | 2f has too eosin
| No |  | Yes |  | Yes |  | No |  | Some artifacts in tiles
Partition 15 | No | No | No | No | Yes | No | Yes | No | NA
| No |  | No |  | No |  | No |  | no colour artefact
| No |  | No |  | No |  | No |  | NA
| no |  | no |  | no |  | no |  | spindle & round, 3d clear cells
| No |  | Yes |  | Yes |  | No |  | Acceptable images, some artifacts
Partition 21 | No | No | No | No | No | No | Yes | No | NA
| No |  | No |  | No |  | No |  | no colour artefact
| No |  | No |  | No |  | No |  | NA
| No |  | No |  | No |  | No |  | spindle & small cells
| No |  | Yes |  | Yes |  | No |  | Some artifacts in tiles
Partition 22 | No | No | No | No | Yes | No | Yes | No | NA
| No |  | Yes |  | No |  | No |  | most of the tiles are similar, but not all
| No |  | No |  | No |  | No |  | NA
| No |  | No |  | No |  | No |  | spindle 1e 1g, 4a-b large cell
| No |  | Yes |  | Yes |  | No |  | Acceptable images
Partition 25 | No | Yes | Yes | Yes | Yes | No | No | No | NA
| Yes |  | No |  | No |  | Yes |  | too much artefacts
| No |  | No |  | No |  | No |  | colour artifact
| Yes |  | Yes |  | Yes |  | No |  | too dark
| Yes |  | Yes |  | No |  | No |  | Poor images, artifacts
Partition 26 | No | No | Yes | Yes | Yes | Yes | No | No | NA
| No |  | Yes |  | Yes |  | No |  | just few outliers
| No |  | No |  | No |  | No |  | NA
| No |  | Yes |  | Yes |  | No |  | NA
| No |  | Yes |  | Yes |  | No |  | Some artifacts in tiles
Partition 28 | Yes | Yes | Yes | Yes | Yes | Yes | No | No | hemorrhage
| Yes |  | Yes |  | Yes |  | No |  | Here no tumor cells, mostly erythrocytes :)
| Yes |  | Yes |  | Yes |  | Yes |  | very few tiles contain tumor cells
| Yes |  | Yes |  | Yes |  | No |  | 1cde, 3c, 4bc blurred
| Yes |  | Yes |  | Yes |  | No |  | Global artifacts
Partition 30 | No | No | Yes | Yes | Yes | No | No | No | NA
| No |  | Yes |  | No |  | No |  | 2 groups, some outliers, 2 with artefacts
| No |  | No |  | No |  | No |  | NA
| No |  | No |  | No |  | No |  | only partly similar
| No |  | Yes |  | Yes |  | No |  | Some artifacts in tiles
Partition 32 | No | No | Yes | Yes | Yes | No | No | No | NA
| Yes |  | Yes |  | No |  | Yes |  | Too dark, too many artefacts for evaluation
| No |  | No |  | No |  | No |  | several blurred tiles
| No |  | Yes |  | Yes |  | No |  | 1f 4d 4g blurred, all too dark or thick
| Yes |  | Yes |  | No |  | No |  | Some artifacts in tiles
Partition 34 | No | No | No | No | Yes | No | Yes | No | NA
| No |  | No |  | No |  | Yes |  | too many different tiles
| No |  | No |  | No |  | No |  | NA
| No |  | No |  | No |  | No |  | NA
| No |  | Yes |  | Yes |  | No |  | NA
Partition 35 | No | No | No | No | No | No | Yes | No | NA
| No |  | No |  | No |  | Yes |  | some tiles too dark
| No |  | No |  | No |  | No |  | colour artifact in several tiles
| No |  | No |  | No |  | No |  | most too dark or thick
| Yes |  | Yes |  | No |  | No |  | Artifacts in tiles
Partition 38 | No | No | Yes | Yes | Yes | Yes | Yes | No | NA
| No |  | Yes |  | Yes |  | No |  | global evaluation possible, just few outliers
| No |  | Yes |  | Yes |  | No |  | NA
| No |  | Yes |  | Yes |  | No |  | similar except 3g, 4a
| No |  | Yes |  | Yes |  | No
Partition 39 | Yes | Yes | Yes | Yes | Yes | No | No | No | hemorrhage
| Yes |  | Yes |  | No |  | No |  | not good for evaluation because only few tiles with tumor cells, other than that only blood/erythrocytes and fibrous tissue
| Yes |  | No |  | No |  | Yes |  | very few tiles contain tumor cells
| No |  | Yes |  | Yes |  | No |  | all RBC
| Yes |  | No |  | No |  | No
Partition 41 | No | No | Yes | Yes | Yes | Yes | No | No | NA
| No |  | Yes |  | Yes |  | No |  | NA
| No |  | No |  | No |  | No |  | NA
| No |  | Yes |  | Yes |  | No |  | similar except 3f
| No |  | Yes |  | Yes |  | No
Partition 43 | No | No | Yes | Yes | Yes | No | No | No | NA
| No |  | Yes |  | No |  | No |  | similar tiles, but also better in 2 groups
| No |  | No |  | No |  | No |  | NA
| No |  | No |  | No |  | No |  | NA
| No |  | Yes |  | Yes |  | No
Partition 44 | No | No | Yes | Yes | Yes | Yes | No | No | NA
| No |  | Yes |  | Yes |  | No |  | NA
| No |  | Yes |  | Yes |  | No |  | NA
| No |  | Yes |  | Yes |  | No |  | 2g blurred
| No |  | Yes |  | Yes |  | No |  | Acceptable images
Partition 45 | No | No | Yes | Yes | Yes | Yes | No | No | NA
| No |  | Yes |  | Yes |  | No |  | maybe just a bit too dark
| No |  | Yes |  | Yes |  | No |  | NA
| No |  | Yes |  | Yes |  | No |  | all too dark or thick
| Yes |  | Yes |  | No |  | No |  | Poor images, artifacts
Partition 48 | Yes | No | Yes | No | Yes | No | No | No | NA
| No |  | No |  | No |  | Yes |  | more than 3 groups of similar tiles
| No |  | No |  | No |  | No |  | colour artifact in several tiles
| No |  | No |  | No |  | No |  | NA
| Yes |  | Yes |  | Yes |  | No |  | Some artifacts in tiles
Partition 50 | No | No | Yes | Yes | Yes | Yes | Yes | No | NA
| No |  | Yes |  | No |  | No |  | similar, but with some outliers
| No |  | Yes |  | Yes |  | No |  | NA
| No |  | Yes |  | Yes |  | No |  | NA
| No |  | Yes |  | Yes |  | No |  | NA
Partition 58 | No | Yes | Yes | Yes | Yes | No | Yes | Yes | NA
| Yes |  | No |  | No |  | Yes |  | too few slides with tumor cells, lot of fibrous tissue adn blood vesssels and lung parenchyma
| Yes |  | Yes |  | Yes |  | Yes |  | very few tiles contain tumor cells
| Yes |  | No |  | No |  | No |  | no tumor, some blurred
| Yes |  | Yes |  | No |  | No |  | Many artifacts
Partition 59 | No | No | Yes | Yes | Yes | Yes | No | No | NA
| No |  | Yes |  | Yes |  | No |  | NA
| No |  | No |  | No |  | No |  | NA
| No |  | Yes |  | Yes |  | No |  | NA
| No |  | Yes |  | Yes |  | No
Partition 64 | No | No | Yes | Yes | Yes | Yes | No | No | NA
| No |  | Yes |  | Yes |  | No |  | NA
| No |  | Yes |  | Yes |  | No |  | NA
| No |  | Yes |  | Yes |  | No |  | NA
| No |  | Yes |  | Yes |  | No
Partition 66 | No | No | No | No | Yes | No | Yes | No | NA
| No |  | No |  | No |  | Yes |  | NA
| No |  | No |  | No |  | No |  | NA
| No |  | No |  | No |  | No |  | spindle, large, clear cells
| No |  | Yes |  | Yes |  | No
Partition 68 | No | No | No | No | Yes | No | Yes | No | NA
| Yes |  | No |  | No |  | Yes |  | too dark, too many cutting artefacts (too thick)
| No |  | No |  | No |  | No |  | colour artifact in several tiles
| No |  | Yes |  | Yes |  | NA |  | all too dark or thick
| Yes |  | Yes |  | No |  | No |  | Poor images, artifacts
Partition 70 | No | Yes | Yes | Yes | Yes | Yes | No | No | cartilage
| Yes |  | Yes |  | Yes |  | No |  | just cartilage :)
| Yes |  | Yes |  | Yes |  | Yes |  | no tumor cells in any of the tiles
| No |  | Yes |  | Yes |  | No |  | cartilage except 2ef, various stainability
| Yes |  | Yes |  | Yes |  | No |  | Unrelated tissue
Partition 72 | No | No | Yes | Yes | Yes | Yes | Yes | No | NA
| No |  | Yes |  | Yes |  | No |  | global evaluation possible, just few outliers
| No |  | No |  | No |  | No |  | NA
| No |  | No |  | No |  | No |  | spindle or round cells
| No |  | Yes |  | Yes |  | No |  | Poor images, artifacts
Partition 73 | No | No | NA | Yes | Yes | Yes | No | No | NA
| No |  | Yes |  | Yes |  | No |  | global evaluation possible, just few outliers
| No |  | Yes |  | Yes |  | No |  | colour artifact in several tiles
| No |  | Yes |  | Yes |  | NA |  | 4g is too dark or thick
| No |  | Yes |  | Yes |  | No |  | Artifacts in tiles