# Supplementary Materials

Figure S.1: Assessing bi-exponential fitting error (A) Simulated multi-compartment spectrum based on T2_short and T2_long values derived from spectral analysis. The multi-compartment model was developed for a multi-echo spin-echo signal decay using a Bloch simulation. Gaussian-distributed white noise was added to achieve an SNR (mean/σ) comparable to that observed in magnitude images from in vivo studies. Simulated T2 decay curves were generated by repeating simulations across 60 logarithmically spaced T2 values between 10 ms and 300 ms, with the long component's contribution varying from 0% to 100%. Other simulation parameters were consistent with those used in short TE range protocol (first TE=6.4 ms, ΔTE=6.4 ms, 13 echoes, αrefocusing pulse°=170° to reflect imperfect refocusing). (B) TVF assessment with bi-exponential fitting, as similar to in vivo TVF assessment, was performed with T2_short constrained to 10–40 ms and T2_long fixed at 150 ms Results show strong agreement between ground truth TVF and fitted values.